| CSF Collection Guidelines |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Tube 1 Number | Laboratory | Volume (mL) | Container | Testing | Notes |
| #1 | Hematology | 1.5 | Sterile Screw top | Cell count and Differential | If collecting Hematology on Tubes 1 & 4 |
| #2 | Chemistry | 1.0 | Sterile Screw top | Glucose | Min vol for 1 or both |
|  |  |  |  | Protein |  |
|  |  | 2.0 | Special Tubes2 | Alzheimer Disease Evaluation |  |
| #3 | Microbiology | 2.0 | Sterile Screw top | Bacterial Culture/Gram Stain | Min vol for 1 or both |
|  |  |  |  | Fungal Culture/Cryptococcus AG |  |
|  |  | 10.0 | Sterile Screw top | Mycobacteria (AFB) Culture | For diagnosis of TB meningitis |
|  |  | 1.0 | Sterile Screw top | Enterovirus RNA PCR |  |
|  | Molecular Infectious Disease (MID) | 1.0 | Sterile Screw top | Cytomegalovirus (CMV) PCR | Min vol for 1 or all Needs Microbiology LMR approval |
|  |  |  |  | Herpes Simplex Virus (HSV) PCR |  |
|  |  |  |  | Varicella Zoster (VZV) PCR |  |
|  |  |  |  | **Human Herpes Virus-6 (HHV-6) PCR |  |
|  |  |  |  | Parechovirus PCR |  |
|  | Microbiology Sendout testing | 0.5 | Sterile Screw top | Epstein Barr Virus (EBV) PCR |  |
|  |  | 0.5 | Sterile Screw top Sterile Screw top | Toxoplasma gondii PCR |  |
|  |  | 0.5 |  | JC Virus PCR |  |
| #4 | Hematology or | 1.5 | Sterile Screw top | Cell count and Differential | Hematology if collecting only ONE tube |
|  | Flow Cytometry or | 6.0 | Sterile Screw top | Leukemia/Lymphoma Cell Marker Assessment |  |
|  | HP morph review | 6.0 | Sterile Screw top | HemePath Morphological Review |  |
| #5 | Flow Cytometry or | 6.0 | Sterile Screw top | Leukemia/Lymphoma Cell Marker Assessment |  |
|  | Cytology | 6.0 | Sterile Screw top | Cytology |  |
| #6 | Cytology or | 6.0 | Sterile Screw top | Cytology |  |
|  | Other Sendout testing | 4.0 | Sterile Screw top | **Paraneoplastic Panel | Needs Chemistry LMR approval |
|  |  | 4.0 | Sterile Screw top | **Encephalopathy, Autoimmune Eval | Needs Chemistry LMR approval |
|  |  | 1.0 | Sterile Screw top | Amino Acid, Quant |  |
|  |  | 5.0 | Sterile Screw top | 14-3-3 Protein (Creutzfeldt-Jakob CJD) | Wet ice |
|  |  | 1.0 | Sterile Screw top | Oligoclonal Bands | CSF & Serum (1 mL) |
|  |  |  |  | IgG Index |  |
|  |  |  |  | MS Profile |  |
|  |  | 0.5 | Sterile Screw top | VDRL | Testing limited to RPR positive patients |
|  |  | 1.0 | Sterile Screw top | West Nile Virus AB serology |  |
|  |  | 1.0 | Special Tubes2 | Lactate/pyruvate | Wet ice |
| #7 | Save | 4.0 | Sterile Screw top | Save CSF | Order as Miscellaneous lab test, “Save CSF” |

1A minimum of 3 tubes should be collected. Tubes should be labelled according to the sequence of collection.  If appropriately labeled tubes are not included in the kit, label the tube with the sequence number.  Tube 1 should never go to microbiology as it may be contaminated with skin microbiota.

2Call Laboratory Customer Service at 314-362-1470 for special tubes prior to collection.

**Testing requires Laboratory Medicine Resident (LMR) approval, please call the LMR at 314-747-1320 (#2 Chemistry, #3 Microbiology) for approval before drawing the specimen.

Note:  Maximum draw is NOT to exceed 30 mL of CSF.