## Stability
DEPARTMENT OF LABORATORIES CORE LABORATORY ST. LOUIS, MO 63110-1094
CHEMISTRY POLICY: CLP.06.16a.V9
POLICY: | Core Lab Analyte Stability Chart
ISSUE DATE: | 1999-04-01 | [5 empty] | REVISION DATE: |  | 2024-09-03
Test / Procedure Name |  | Unprocessed Specimens (Not Centrifuged) |  |  | Processed Specimens (On Gel) |  | Processed Specimens (Poured Off)
|  | Ambient Temp | 4° C | -20° C | Ambient Temp | 4° C | Ambient Temp | 4° C | -20° C
Alpha1-Antitrypsin (α1AT) |  | 7 Dy | 2 Wk | N/A | 2 Dy | 5 Dy | 7 Dy | 3 Mo | 3 Mo
ACE |  | 2 Hr | 2 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 1 Yr
ACTH |  | N/A | 3 Hr | N/A |  |  | 2Hr | 3Hr | 10 Wk
ACTU |  | 72 Hr | N/A | N/A
Activated Partial (non-heparinized) Thromboplastin Time (aPTT) |  | 4 Hr | N/A | N/A |  |  | 4 Hr | N/A | N/A
aPTT Heparin Therapy |  | 1 Hr | N/A | N/A |  |  | 1 Hr | N/A | N/A
Activated Protein C Resistance (APCR) |  | 4 Hr | 8 Hr | N/A |  |  | 4 Hr | 8 Hr | 6 Mo
Acetaminophen |  | 2 Hr | 2 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 6 Mo
Acetone |  | 2 Dy | 2 Dy | N/A | 2 Dy | 2 Dy | 2 Dy | 2 Dy | 1 Mo
ADAMTS-13 |  | 2 Hr | N/A | N/A |  |  | 24 Hr | 24 Hr | 7 Dy
AFP |  | 24 Hr | 24 Hr | N/A | 12 Hr | 2 Dy | 5 Dy | 14 Dy | 6 Mo
Albumin |  | 6 Dy | 14 Dy | N/A | 4 Dy | 6 Dy | 2.5 Mo | 5 Mo | 4 Mo
Albumin, Fluid |  | 6 Dy | 14 Dy | N/A | 4 Dy | 6 Dy | 2.5 Mo | 5 Mo | 4 Mo
Aldolase |  | 2 Hr | 2 Hr | N/A | 24 Hr | 5 Dy | 24 Hr | 5 Dy | 6 Mo
Alkaline Phosphatase |  | 4 Dy | 24 Hr | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 2 Mo
Allergens (Specific IgE) |  | 24 Hr | 24 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 2 Mo
Allogenic Prof |  | CTL sample. All samples will be analyzed.
ALT |  | 3 Dy | 24 Hr | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 7 Dy
Ammonia |  | N/A | 30 Min | N/A |  |  | N/A | 2 Hr | 3 Dy
Amylase |  | 4 Dy | 4 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Mo
Amylase, Fluid |  | 4 Dy | 4 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Mo
ANA |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
ANCA |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Anti-Cardiolipin ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Anti-Endomysial ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Anti-mitochondrial ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Anti-Smooth muscle ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Antithrombin |  | 24 Hr | 24 Hr | N/A |  |  | 24 Hr | 24 Hr | 6 Mo(-70)
Anti-Xa |  | 1 Hr | 1 Hr | N/A |  |  | 12 Hr | 12 Hr | 6 Mo(-70)
Aspirin Screen |  | 4 Hr | N/A | N/A
AST |  | 4 Dy | 24 Hr | N/A | 24 Hr | 2 Dy | 7 Dy | 7 Dy | 3 Mo
BAL, T-Cell Subset |  | 72 Hr | N/A | N/A
Beta-2 Glycoprotein IgA, IgG & IgM |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Beta-2 Microglobulin |  | 3 Dy | 3 Dy | N/A | 3 Dy | 3 Dy | 3 Dy | 3 Dy | 6 Mo
Beta-Amyloid CSF (ABeta42) |  | 5 Dy | 14 Dy | 2 Mo |  |  | 5 Dy | 14 Dy | 2 Mo
Beta-Crosslaps (C-Telopeptide) |  | 12 Hr | 12 Hr | N/A |  |  | 24 Hr | 8 Dy | 3 Mo
Beta Hydroxybutyrate |  | 24 Hr | 24 Hr | NA
Bicarbonate (tCO2) |  | 4 Hr | 4 Hr | N/A | 40 Hr | 7 Dy | 2 Hr | 2 Hr | N/A
Closed Tube
[5 empty] | Serum (No gel) 4 Hr | Serum (No gel) 24 Hr | Closed Tube
Bilirubin, Direct (In Dark) |  | 4 Hr | 4 Hr | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 6 Mo
Bilirubin, Total (In Dark) |  | 4 Hr | 4 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 6 Mo
Bilirubin, Total, Fluid (In Dark) |  | 4 Hr | 4 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 6 Mo
Blood Gas pH |  | 1 Hr | 1 Hr | N/A
pCO2 |  | 1 Hr | 1 Hr | N/A
pO2 |  | 1 Hr | 1 Hr | N/A
BNP, NT-pro |  | 2 Dy | 6 Dy | N/A | 3 Dy | 6 Dy | 3 Dy | 6 Dy | 24 Mo
C-Peptide |  | 5 Dy | 5 Dy | N/A | 5 Dy | 5 Dy | 5 Dy | 5 Dy | 30 Dy
CA 125 |  | 12 Hr | 24 Hr | N/A | 8 Hr | 5 Dy | 8 Hr | 5 Dy | 24 Wk
CA 15-3 |  | 12 Hr | 24 Hr | N/A | 48 Hr | 5 Dy | 48 Hr | 5 Dy | 3 Mo
CA 19-9 |  | 12 Hr | 24 Hr | N/A | 5 Dy | 14 Dy | 5 Dy | 14 Dy | 3 Mo
Calcium |  | 2 Dy | 2 Dy | N/A | 7 Dy | 3 Wk | 7 Dy | 3 Wk | > 8 Mo
Calcium, Ionized (Closed Container) |  | 2 Hr | N/A | N/A | 24 Hr | 3 Dy
Calcium, Urine (pH< 3.0) |  | 2 Dy | 4 Dy | 3 Wk
Carbamazepine |  | 4 Hr | 4 Hr | N/A | 2 Dy | 2 Dy | 5 Dy | 7 Dy | 1 Mo
Cardiolipin IgA, IgG & IgM |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
CBC |  | 24 Hr | 24 Hr | N/A
CD 3 |  | 72 Hr | N/A | N/A
CD 4 |  | 72 Hr | N/A | N/A
CD 19 |  | 48 Hr | N/A | N/A
CD 20 |  | 48 Hr | N/A | N/A
CD 25 |  | 24Hr | N/A | N/A
CD 34 Lin (Blood) |  | CTL sample All samples will be analyzed.
CD34 Lin Products |  | CTL sample. All samples will be analyzed.
CEA |  | 12 Hr | 24 Hr | N/A | 7 Dy | 14 Dy | 7 Dy | 14 Dy | 6 Mo
Cell Count, Body Fluid |  | 4 Hr | N/A | N/A
Cell Count, Peripheral (Differential) |  | 24 Hr | 24 Hr | N/A
Ceruloplasmin |  | 6 Hr | 12 Hr | N/A | 8 Hr | 2 Dy | 8 Dy | 2 Wk | 1 Yr
Centromere B ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Chloride |  | 24 Hr | 2 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | >1 Yr
Chloride, Urine |  | 7 Dy | 7 Dy | > 1 Yr
Cholesterol |  | 7 Dy | 7 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 3 Mo
Cholesterol, Fluid |  | 7 Dy | 7 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 3 Mo
Chylomicrons |  | 2 Dy | 3 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 3 Mo
Chylomicrons, Fluid |  | 2 Dy | 3 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 3 Mo
CK Total (CPK) |  | 2 Dy | 2 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 1 Mo
Clopidogrel Screen |  | 4 Hr | N/A | N/A
Complement 3 (C3) |  | 24 Hr | 48 Hr | N/A | 4 Dy | 8 Dy | 4 Dy | 8 Dy | 1 Mo
Complement 4 (C4) |  | 24 Hr | 48 Hr | N/A | 2 Dy | 8 Dy | 2 Dy | 8 Dy | 3 Mo
Cortisol |  | 24 Hr | 24 Hr | N/A | 24 Hr | 4 Dy | 24 Hr | 4 Dy | 12 Mo
Creatinine |  | 2 Dy | 24 Hr | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 3 Mo
Creatinine, Fluid |  | 2 Dy | 24 Hr | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 3 Mo
Creatinine, Urine |  | 2 Dy | 6 Dy | 6 Mo
C-Reactive Protein (CRPhs) |  | 24 Hr | 4 Dy | N/A | 24 Hr | 4 Dy | 11 Dy | 2 Mo | 3 Yr
Crystal Analysis |  | 48 Hr | N/A | N/A
Cyclosporine |  | 7 Dy | 7 Dy | 14 Dy
CMV, IgG and IgM |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Cyclic Citrullinated Peptide ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
D-Dimer |  | 24 Hr | 24 Hr | N/A |  |  | 24 Hr | 24 Hr | 6 Mo(-70)
DHEA-S |  | 3 Dy | 3 Dy | N/A | 3 Dy | 3 Dy | 5 Dy | 14 Dy | 12 Mo
Digoxin |  | 4 Hr | 4 Hr | N/A | 24 Hr | 2 Dy | 2 Dy | 7 Dy | 6 Mo
DNA, double stranded |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Drug Screens and Confirmations (Urine) |  | 2 Dy | 7 Dy | 7 Dy
EBV IgG, IgM and EBNA ab |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
ENA screen |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Erythrocyte Sedimentation Rate (ESR) |  | 8 Hr | N/A | N/A
Estradiol |  | 24 Hr | 2 Dy | N/A | 24 Hr | 2 Dy | 24 Hr | 2 Dy | 6 Mo
Ethanol |  | 2 Dy | 2 Dy | N/A | 2 Dy | 2 Wk | 2 Dy (-1.7% /hr no cap) | 2 Wk | 4 Wk
Ethylene Glycol |  | 2 Dy | 2 Dy | N/A |  |  | 2 Dy | 5 Dy | 1 Mo
Everolimus |  | 7 Dy | 7 Dy | 14 Dy
Factor Assay (2, 7, 9, 10, 11, 12) |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo(-70)
Factor Assay (5, 8) |  | 4 Hr | N/A | N/A |  |  | 4 Hr | N/A | N/A
Factor Inhibitors (all factors) |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo(-70)
Ferritin |  | 12 Hr |  | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 1 Yr
Fetal Hemoglobin (Flow) |  | 72 Hr | 72 Hr | N/A
Fibrinogen |  | 24 Hr | 24 Hr | N/A |  |  | 24 Hr | 24 Hr | 6 Mo(-70)
Free Light Chains (Ig), κ, λ |  | 6 Hr | 12 Hr | N/A | 7 Dy | 1 Mo | 7 Dy | 1 Mo | 6 Mo
Folate, Plasma |  | 4 Hr |  | N/A | 4 Hr | 8 Hr | 4 Hr | 2 Dy | 28 Dy
FSH |  | 12 Hr | 24 Hr | N/A | 24 Hr | 5 Dy | 5 Dy | 14 Dy | 6 Mo
G6PD |  | 7 Dy | 7 Dy | N/A
Gamma-GT |  | 24 Hr | 2 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Yr
Gentamicin |  | 8 Hr | 24 Hr | N/A | 8 Hr | 2 Dy | 8 Hr | 7 Dy | 2 Wk
Gliadin IgA and IgG |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Glomerular Basement Membrane |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Glucose, Plasma / Serum (with Gel) |  | 2 Hr | 3 Hr | N/A | 8 Hr | 3 Dy | 8 Hr | 3 Dy | 1 Dy
Glucose (Fluoride tube) |  | 3 Dy | 4 Dy | N/A |  |  | 3 Dy | 7 Dy | 1 Dy
Glucose, Serum (No gel) |  | 2 Hr | 3 Hr | N/A | 2 Hr (No gel) | 2 Hr (No gel) | 3 Dy | 7 Dy | 1 Dy
Glucose, CSF / Fluid |  | 1 Dy | 3 Dy (Spun) | 1 Mo (Spun) |  |  | 1 Dy | 3 Dy | 1 Mo
Glycated Hemoglobin (A1C) |  | 3 Dy | 7 Dy | 6 Mo
Haptoglobin |  | 8 Dy | 4 Wk | N/A | 3 Mo | 8 Mo | 3 Mo | 8 Mo | 6 Mo
HCG, Urine |  | 2-4 Hr | N/A | N/A
HCG, Serum |  | 12 Hr | 24 Hr | N/A | 5 Dy | 14 Dy | 5 Dy | 14 Dy | 1 Yr
HDL-Cholesterol |  | 2 Dy | 5 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 1 Mo
Hemoglobin Analysis |  | 4 Dy | 4 Dy | N/A
Hemoglobin, Plasma |  | 2 Hr | N/A | N/A |  |  | 2 Hr | 7 Dy | 1 Mo
Hemoglobin Saturation
Oxyhemoglobin |  | 1 Hr
Carboxyhemoglobin |  | 1 Hr | 24 Hr
Methemoglobin |  | 1 Hr | 6 Hr
HIT (heparin induced thrombocytopenia) |  | 8 Hr | N/A | N/A |  |  | N/A | N/A | 6 Mo (-70)
Hep A Ab - Total |  | 4 Dy | 8 Dy | N/A | 4 Dy | 8 Dy | 7 Dy | 14 Dy | 3 mo
Hep A Ab - IgM |  | 3 Dy | 7 Dy | N/A | 3 Dy | 7 Dy | 7 Dy | 14 Dy | 3 mo
Hep Bc Ab - IgM |  | 3 Dy | 7 Dy | N/A | 3 Dy | 7 Dy | 7 Dy | 14 Dy | 3 mo
Hep Bc Ab - Total (IgM+IgG) |  | 3 Dy | 7 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | N/A
Hep Bs Ab |  | 3 Dy | 7 Dy | N/A | 3 Dy | 7 Dy | immediate | 6 days ser 2 days plas | 3 mo
Hep Bs Ag / Hep Bs Ag-C |  | 24 Hr | 6 Dy | N/A | 24 Hr | 6 Dy | 24 Hr | 6 Dy | N/A
Hep C Ab |  | 3 Dy | 7 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | N/A
Heterophile Ab |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
HIV 1/2 ab +p24 ag |  | 3 Dy | 7 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | N/A
HIV Differentiation |  | 48 hr | 7 Dy | N/A | 48 hr | 7 Dy | 48 hr | 7 Dy | N/A
Homocysteine |  | 1 Hr | 6 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 10 Mo
HSV 1&2 ab |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Immune Comp |  | 48 Hr | N/A | N/A
Immune Def |  | 72 Hr | N/A | N/A
Immunofixation |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Immunoglobulin A (IgA) |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 8 Mo | 8 Mo | 8 Mo
Immunoglobulin E (IgE) |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 7 Dy | 7 Dy | 6 Mo
Immunoglobulin G (IgG) |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 4 Mo | 8 Mo | 8 Mo
Immunoglobulin M (IgM) |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 2 Mo | 4 Mo | 6 Mo
Insulin |  | 24 Hr | 24 Hr | N/A | 24 Hr | 5 Dy | 4 Hr | 2 Dy | 6 Mo
Iron |  | 6 Hr | 24 Hr | N/A | 7 Dy | 3 Wk | 7 Dy | 3 Wk | 1 Yr
Iron Binding Capacity (IBC) |  | 6 Hr | 24 Hr | N/A | 4 Dy | 7 Dy | 4 Dy | 7 Dy | 1 Yr
Isopropanol |  | 2 Dy | 2 Dy | N/A | 2 Dy | 2 Dy | 2 Dy | 2 Dy | 1 Mo
Kleihauer-Betke (KB) |  | 72 Hr | N/A | N/A
Lactate plasma (Fluoride tube) |  | 2 Hr | 4 Hr | N/A |  |  | 8 Hr | 14 Dy | N/A
Lactate WB |  | 30 min | 1 Hr | N/A
LDH |  | 3 Hr | 4 Hr | N/A | 4 Hr | 24 Hr | 7 Dy | 4 Dy | 6 Wk
LDH, Fluid |  | 3 Hr | 4 Hr | N/A | 4 Hr | 24 Hr | 7 Dy | 4 Dy | 6 Wk
LDL Direct |  | 2 Dy | 7 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 1 Yr
Leuk/Lym |  | Viability will determine if testing will be performed. See procedure FLW.14
LH |  | 7 Dy | 7 Dy | N/A | 3 Dy | 5 Dy | 5 Dy | 14 Dy | 6 Mo
Lidocaine |  | 4 Hr | 4 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 1 Mo
Lipase |  | 24 Hr | 24 Hr | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Yr
Lipase, Fluid |  | 24 Hr | 24 Hr | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Yr
Lithium |  | 4 Hr | 4 Hr | N/A | 24 Hr | 7 Dy | 24 Hr | 7 Dy | 6 Mo
Lupus Anticoagulant |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo (-70)
Lym Sub 7 |  | 24 Hr | N/A | N/A
Lym Sub 10 |  | 72 Hr | N/A | N/A
Lym Sub 13 |  | 24 Hr | N/A | N/A
Magnesium |  | 1 Dy | 2 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Yr
Magnesium, Urine |  | 3 Dy | 3 Dy | 1 Yr
Measles (Rubeola) IgG |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Methanol |  | 2 Dy | 2 Dy | N/A | 2 Dy | 2 Dy | 2 Dy | 2 Dy | 1 Mo
Methotrexate |  | 8 Hr | 8 Hr | N/A | 8 Hr | 3 Dy | 8 Hr | 2 Wk | 6 Mo
Microalbumin, Urine |  | 7 Dy | 1 Mo | 6 Mo
Mumps, IgG |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Myeloperoxidase |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Osmolality (Closed Tube) |  | 6 Hr | 12 Hr | N/A | 6 Hr | 24 Hr | 6 Hr | 24 Hr | 3 Mo
Osteocalcin |  | 12 Hr | 12 Hr | N/A |  |  | 2 Dy | 3 Dy | 3 Mo
Parathyroid Hormone, intact |  | 24 Hr | 24 Hr | N/A |  |  | 2 Dy | 3 Dy | 6 Mo
PFA |  | 4 Hr | N/A | N/A
pH, Fluid |  | 1 Hr | 2 Hr | N/A
Phenobarbital |  | 4 Hr | 4 Hr | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 28 Dy
Phenytoin, Total |  | 4 Hr | 4 Hr | N/A | 2 Dy | 2 Dy | 2 Dy | 7 Dy | 5 Mo
Phosphorus |  | 3 Hr | 4 Hr | N/A | 24 Hr | 4 Dy | 1 Dy | 4 Dy | 1 Yr
Phosphorus, Urine (pH<5.0) |  | 2 Dy | 6 Mo | 6 Mo
Phospho-Tau CSF (pTau) |  | 5 Dy | 14 Dy | 2 Mo |  |  | 5 Dy | 14 Dy | 2 Mo
PNH Profile |  | RBC CD59 48 Hr | RBC CD59 7 Dy
|  | WBC CD59 48 Hr | WBC CD59 48 Hr
|  | FLAER 48 Hr | FLAER 4 Dy
Potassium, Plasma / Serum (With Gel) |  | 4 Hr | 1 Hr | N/A | 12 Hr | 12 Hr | 2 Wk | 2 Wk | 1 Yr
Potassium, Plasma / Serum (No Gel) |  | 4 Hr | 1 Hr | N/A | 4 Hr (No gel) | 1 Hr (No gel) | 2 Wk | 2 Wk | 1 Yr
Potassium, Urine |  | 2 Wk | 2 Wk | 1 Yr
Prealbumin |  | 12 Hr | 24 Hr | N/A | 3 Dy | 6 Mo | 3 Dy | 6 Mo | 1 Yr
Progesterone |  | 12 Hr | 24 Hr | N/A | 12 Hr | 24 Hr | 1 Dy | 5 Dy | 6 Mo
Prolactin |  | 24 Hr | 24 Hr | N/A | 5 Dy | 6 Dy | 5 Dy | 14 Dy | 6 Mo
Prothrombin Time (PT) |  | 24 Hr | 24 Hr | N/A |  |  | 24 Hr | 24 Hr | N/A
Protein, CSF / Fluid |  | 24 Hr | 6 Dy | 1 Yr |  |  | 1 Dy | 3 Dy | 1 Mo
Protein, Total |  | 24 Hr | 24 Hr | N/A | 6 Dy | 4 Wk | 6 Dy | 4 Wk | 1 Yr
Protein, Urine |  | 24 Hr | 7 Dy | 1 Mo
Proteinase 3 ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Protein C |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo (-70)
Protein electrophoresis, Serum |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Protein electrophoresis, Urine |  | 24 Hr | 2 Dy | N/A
Protein S, Free |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo (-70)
PSA |  | 12 Hr | 24 Hr | N/A | 24 Hr | 5 Dy | 24 Hr | 5 Dy | 6 Mo
Retic |  | 24 Hr | 24 Hr | N/A
Rheumatoid Factor |  | 12 Hr | 24 Hr | N/A | 24 Hr | 3 Dy | 24 Hr | 3 Dy | 1 Mo
Ribosomal ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
RNP Ribonucleoprotein ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
RPR |  | N/A | N/A | N/A | N/A | 5 Dy | N/A | 5 Dy | 6 mo
Rubella IgG |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Salicylate |  | 4 Hr | 4 Hr | N/A | 24 Hr | 7 Dy | 7 Dy | 2 Wk | 6 Mo
SARS-CoV2 IgG |  | 24 Hr | 2 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 6 Mo
Sickle Cell |  | 24 Hr | 2 Wk | N/A
Sirolimus |  | 7 Dy | 7 Dy | 14 Dy
Sodium |  | 4 Dy | 3 Dy | N/A | 2 Wk | 2 Wk | 2 Wk | 2 Wk | 1 Yr
Sodium, Urine |  | 2 Wk | 2 Wk | 1 Yr
SS-A Sjögren's Syndrome ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
SS-B Sjögren's Syndrome ab |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Tacrolimus |  | 7 Dy | 7 Dy | 14 Dy
Testosterone |  | 24 Hr | 2 Dy | N/A | 24 Hr | 5 Dy | 5 Dy | 14 Dy | 6 Mo
T3, Free |  |  |  | N/A | 5 Dy | 7 Dy | 5 Dy | 7 Dy | 30 Dy
T4, Free |  |  |  | N/A | 5 Dy | 7 Dy | 5 Dy | 7 Dy | 30 Dy
Theophylline |  | 4 Hr | 4 Hr | N/A | 2 Dy | 2 Dy | 2 Dy | 7 Dy | 2 Mo
Thromboelastogram (ROTEM) |  | 4 Hr | 4 Hr
Thrombin Time- nonheparinized |  | 24 Hr | 24 Hr | N/A |  |  | 24 Hr | 24 Hr | 6 Mo (-70)
Thrombin Time- Heparin therapy |  | 2 Hr | 2 Hr | N/A |  |  | 2 Hr | 2 Hr | N/A
Tobramycin |  | 8 Hr | 8 Hr | N/A | 8 Hr | 3 Dy | 8 Hr | 3 Dy | 1 Mo
Total Hemolytic Complement |  | 2 Hr | 2 Hr | N/A | 2 Hr | 2 Hr | 2 Hr | 2 Hr | 8 Dy
Total-Tau CSF (tTau) |  | 5 Dy | 14 Dy | 2 Mo |  |  | 5 Dy | 14 Dy | 2 Mo
Toxoplasma IgG |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Toxoplasma IgM |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Transferrin |  | 7 Dy | 8 Dy | N/A |  |  | 8 Dy | 8 Dy | 6 Mo
Treponema Ab |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
TSH |  | 24 Hr | 24 Hr | N/A | 24 Hr | 7 Dy | 8 Dy | 14 Dy | 24 Mo
Triglyceride |  | 2 Dy | 3 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 3 Mo
Triglyceride, Fluid |  | 2 Dy | 3 Dy | N/A | 2 Dy | 7 Dy | 2 Dy | 7 Dy | 3 Mo
hsTroponin I |  | 24 Hr | 2 Dy | N/A | 24 Hr | 3 Dy | 24 Hr | 3 Dy | 30 Dy
Troponin T |  | 8 Hr | 24 Hr | N/A | 8 Hr | 7 Dy | 8 Hr | 7 Dy | 12 Mo
tissue transglutaminase tTG-IgA & IgG |  | 24 Hr | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Urea |  | 24 Hr | 2 Dy | N/A | 7 Dy | 7 Dy | 7 Dy | 7 Dy | 1 Yr
Urea, Urine |  | 2 Dy | 7 Dy | 1 Mo
Urinalysis, Macro |  | 48 Hr | 48 Hr | N/A
Urinalysis, Micro |  | 24 Hr | 24 Hr | N/A
Uric Acid |  | 3 Dy | 2 Dy | N/A | 3 Dy | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Uric Acid, Urine |  | 4 Dy | 4 Dy | 4 Dy
Valproic Acid |  | 4 Hr | 4 Hr | N/A | 2 Dy | 2 Dy | 2 Dy | 7 Dy | 3 Mo
Vancomycin |  | 2 Hr | 8 Hr | N/A | 2 Dy | 14 Dy | 2 Dy | 14 Dy | 12 Mo
Vitamin B12 |  | 12 Hr | 24 Hr | N/A | 24 Hr | 2 Dy | 24 Hr | 2 Dy | 56 Dy
VZV, IgG |  | 24 Hr | 2 Dy | N/A | N/A | 7 Dy | 3 Dy | 7 Dy | 6 Mo
Vitamin D |  | 8 Hr | 4 Dy | N/A | 8 Hr | 4 Dy | 8 Hr | 4 Dy | 24 Wk
vWF AG |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo (-70)
vWF Act |  | 4 Hr | 4 Hr | N/A |  |  | 4 Hr | 4 Hr | 6 Mo (-70)